|  | ......................... pcs. .............................. € .............................. € GEZE sliding door fitting Perlan 140 Telescope Accessories set for leaf weights up to 140 kg: - synchronous operation of two or three leaves using only one hand - synchronisation through maintenance-free wire cable and return pulleys. - Corrosion-proof components Standard version (double leaf) / scope of supply: 1 basic Telescope mounting fixture 2 standard return pulleys 1 return pulley on protruding aluminium profile 1 wire cable for shortening 2 driver pairs incl. cable lock Construction dimensions: Leaf width: ............ mm Area of application: - For double-leaf sliding elements |
| --- | --- |
|  | ......................... pcs. .............................. € .............................. € Additional set for connecting a third leaf Comprising: 2 standard return pulleys 1 return pulley on protruding aluminium profile 1 wire cable for shortening 1 driver pair incl. cable lock |
|  | ......................... pcs. .............................. € .............................. € Additional buffer (floor or wall mounting) In addition to the end stop, the door leaf must be stopped by a further buffer that is attached either at the middle of the door or at the bottom, so that the door leaf is stopped at the top and bottom at the same time. |
|  | ......................... pcs. .............................. € .............................. € Floor guide with continuous rail and adjustable slider |
|  | ......................... pcs. .............................. € .............................. € Clip cover panel made of aluminium As a facing for the track and door suspension plate. To be attached directly on the track using panel fixing brackets (incl.). Colour: ( ) Anodised aluminium ( ) acc. to RAL ( ) for Perlan 140 with wall mounting ( ) for Perlan 140 with ceiling mounting ( ) side parts for wall or ceiling mounting |
|  | ......................... pcs. .............................. € .............................. € Wall mounting console with weather canopy Continuous wall mounting profile with fixing brackets for up to 3 parallel Perlan 140 tracks and matching weather canopy with side parts. ( ) With bracket size 1, length: ........ ( ) With bracket size 2, length: ........ |
|  | ......................... pcs. .............................. € .............................. € Floor guides ( ) Telescope variant for indoor use ( ) Telescope variant for outdoor use |