|  | .......... pcs .................. € .................. € GEZE Overhead Door Closer TS 5000, for fitting on fire and smoke protection doors, in accordance with EN 1154 A, size 2-6, with guide rail, closing force, closing speed, latching action and backcheck adjustable at the front, with visual size indicator, standard fitting on door leaf/hinge side, with mounting plate Alternative to guide rail: ( ) with T-Stop guide rail, with integrated opening restrictor Finish: ( ) silver ( ) dark bronze ( ) white ( ) RAL ........ |
| --- | --- |